## Slide 1
Inspections, Condition Assessments, and Rehabilitation Plans for Your Marina
Edgewater Resources, LLC
518 Broad Street, STE 200
St Joseph, MI
Nick Stefani, PE
Edgewater Resources, LLC
434 S Yellowstone Drive, STE 203
Madison, WI

## Slide 2
Geotechnical and Coastal Engineering background
Great Lakes based
Consultant for all of my career
Mostly on the design side of engineering
Worked for mix of clients, private, public, large public
Neophyte sailor
What is Nick Stefani’s Perspective?

## Slide 3
Overview
Why are routine inspections important?
  How should they be documented?
What are common things to look for?
  What do they indicate?
How should those observations be documented?
How could this information be used to begin rehabilitation?

## Slide 4
Why Are Regular Inspections Important?

## Slide 5
Why Are Regular Inspections Important?
+6
-1

## Slide 6
Why Are Regular Inspections Important?
Marinas are dynamic and are always moving
  Anchorage systems wear and chafe
  Bolts become loose and pins back out
  Plumbing and electrical connections loosen and wear
Marinas are exposed to the elements by design
Boaters aren’t always the best drivers
Boaters make unauthorized “improvements”
Codes and regulations change
ADA Compliance – Won’t touch on this much today, but can take questions at the end

## Slide 12
When Should I Be Performing Inspections?
Inspect Most Elements Annually During the Slow/Off Season
  Anchorage/Connections
    Wear on chains, cables, pile guides, winch connections, dock hinge fasteners and pins
  Structures and Framework
    Corrosion and broken welds
  Decking
    Noticeable deflection, end splitting
  Flotation Units/Freeboard
    Flotation tub bolts, finger pier freeboard
  Plumbing and Fuel Systems
    Pressure testing, valve function, wear at dock joints

## Slide 13
When Should I Be Performing Inspections?
Annually Elements Cont.
  Electrical Systems (per NFPA 303)
    Cabling and Conduit – visually for chafing and wear to hinges and points of movement, broken supports and hangers
    Integrity of Grounding System – bonding connections in place, acceptable resistance in grounding system
    Overloading of Electrical System – use of adapters to allow more current than wiring and connections are rated for
    Unauthorized User Modifications – additional outlets and/or modifications performed by boaters
    Stray Current – testing of each circuit for stray current

## Slide 14
What Else Should I Be Looking For?
What is it Indicative Of?

## Slide 15
Listing – Buoyancy issues

## Slide 16
Material loss – Lower strength

## Slide 17
Material loss – Lower strength

## Slide 18
Movement / Deflection – Lower strength

## Slide 19
Movement / Deflection – Lower strength

## Slide 20
Settlement – Loss of material below – ADA issues?

## Slide 21
Settlement/Tension Cracks – Loss of material below

## Slide 22
Settlement/Tension Cracks – Loss of material below

## Slide 23
Existing Conditions
Electrical damage – Stray current, Electrical fire

## Slide 24
Existing Conditions
Electrical damage – Stray current, Electrical fire

## Slide 25
Electrical damage – Stray current, Electrical fire

## Slide 26
Improper adapters could lead to issues

## Slide 27
Existing Conditions
Improper adapters could lead to issues

## Slide 28
Best Practices for Documentation
Checklists / Data Logs
Photos

## Slide 29
Best Practices for Documentation
Checklists / Data Logs
  Simplicity
  Repeatability
  Accessibility
  Specific Scope
  Three Examples

## Slide 30
Best Practices for Documentation
Survey Data (Bathymetry)

## Slide 31
Best Practices for Documentation
Survey Data (Bathymetry)
  What is the data in reference too?
  What was the water level that day?
  How was the data measured?
  When was the data measured?

## Slide 32
Best Practices for Documentation
Measuring Movement

## Slide 33
Best Practices for Documentation
Measuring Movement
  When was it measured?
  Who measured it?
  How was it measured
  What are the units?

## Slide 34
Best Practices for Documentation
Documenting Annual Conditions

## Slide 35
Best Practices for Documentation
Documenting Annual Conditions
  What was the goal?
  Did we reach that goal?
  Why couldn’t we reach that goal?

## Slide 36
Best Practices for Documentation
Checklists / Data Logs
  Simplicity – as least friction as possible
  Repeatability
    Allows for comparison, great for talking to others
      “It’s changing”
    People change, the data won’t, but only if you have it
  Accessibility
    Using Google Forms / Google Sheets is great, can do it through your phone
  Save data, save money

## Slide 37
Best Practices for Documentation
Photos
  Same location, Same perspective
  Photos timestamp themselves
  Five Examples

## Slide 38
June 2020

## Slide 39
Nov 2020

## Slide 40
Dec 2020

## Slide 41
Was the fabric always exposed?
Could we always see the small stone?
Were they always hanging on by the edge?

## Slide 44
How is the damage progressing?
Was it like this before that big storm?

## Slide 45
Oak Creek, Wisconsin

## Slide 46
Oak Creek, Wisconsin

## Slide 47
Best Practices for Documentation
Photos
  Same location, Same perspective
    The level of deterioration can be tracked over time
    Was this a big storm issue vs. normal wear and tear
  Photos timestamp themselves
    They also can act as a quick, easy, cheap condition assessment
  Easy to send and communicate with engineers and non-engineers

## Slide 48
Prioritizing Repairs
American Society of Civil Engineers (ASCE) Manual 130
PIANC Working Group 17 and 119

## Slide 49
Health and Safety shall be held paramount
  Major Structural Elements
  Anchorage Deficiencies
  Electrical
  Fuel and Environmental Hazards
  Plumbing
  Convenience and User Comfort Elements
Prioritizing Repairs

## Slide 50
Per ASCE Manual No.130 Waterfront Facilities Inspection and Assessment, “Further inspections by a qualified professional are recommended for the following conditions:”
  Structural repair of replacement of a deficiency identified by a routine inspection
  Following a significant event (storm, flood, drought, fire, etc.). Is there a comparison point?
  Due diligence as part of a change of ownership
  Regularly scheduled in-depth inspections (3-5 years depending on conditions observed previously)
Beyond Staff Routine Inspections

## Slide 51
How to use the information gathered effectively?
  Replacing components
    Anchor chains
      Typically replaced 10-15 years
      In Great Lakes, starting to observe replacement needs to happen sooner due to Quagga mussels
    Timber decking
      How is their condition from year to year?
      How many boards need to be replaced annually?
      The treatment is different now then it was 20 years ago
Prioritizing Repairs

## Slide 52
Prioritizing Repairs

## Slide 53
Prioritizing Repairs

## Slide 54
How to use the information gathered effectively?
  Being proactive on future issues
    Electrical tripping
      Measuring stray current isn’t normally done, but ground fault trips should indicate a problem
    Dredging
      Dredging is expensive and a schedule nightmare; the more proactive, the better
    Avoid spiraling costs; its almost always cheaper to replace a part than to deal with the failure of that part
Prioritizing Repairs

## Slide 55
How to use the information gathered effectively?
  Reduce exposure to movement
    Boat wakes
    Make sure the loads are inline with the designed system
    Make sure anchorage is tensioned appropriately
Prioritizing Repairs

## Slide 56
Prioritizing Repairs

## Slide 57
Routine inspections are important.
What to look for.
How to document those observations.
How to begin and manage begin rehabilitation
Nick Stefani, PE
Edgewater Resources, LLC
434 S Yellowstone Drive, STE 203
Wisconsin, WI
nstefani@edgewaterresources.com
Thank you for
your time